## Sheet1
Sample | [7 empty] | 200 Hg [ Hg No Gas ] |  | 200 Hg [ Hg He ] |  | 201 Hg [ Hg No Gas ] |  | 201 Hg [ Hg He ] |  | 202 Hg [ Hg No Gas ] |  | 202 Hg [ Hg He ] |  | 103 Rh ( ISTD ) [ Hg No Gas ] |  | 103 Rh ( ISTD ) [ Hg He ] |  | 115 In ( ISTD ) [ Hg No Gas ] |  | 115 In ( ISTD ) [ Hg He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Comment | Conc. [ ug/l ] | Conc. RSD | Conc. [ ug/l ] | Conc. RSD | Conc. [ ug/l ] | Conc. RSD | Conc. [ ug/l ] | Conc. RSD | Conc. [ ug/l ] | Conc. RSD | Conc. [ ug/l ] | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD
| FALSE | 001SMPL.d | 2019-06-12 11:36 | Sample |  | rinse
| FALSE | 002SMPL.d | 2019-06-12 11:41 | Sample |  | rinse
| FALSE | 003SMPL.d | 2019-06-12 11:45 | Sample |  | rinse
| FALSE | 004CALB.d | 2019-06-12 11:50 | CalBlk | 1 | 0 |  | <0.004 | N/A | <0.004 | N/A | <0.005 | N/A | <0.005 | N/A | <0.005 | N/A | <0.004 | N/A
| FALSE | 005CALS.d | 2019-06-12 11:55 | CalStd | 2 | 0.05 |  | 0.053765 | 9.466 | 0.056439 | 5.7273 | 0.056091 | 1.9617 | 0.049821 | 16.4374 | 0.053032 | 4.9127 | 0.053989 | 7.7366
| FALSE | 006CALS.d | 2019-06-12 11:59 | CalStd | 3 | 0.1 |  | 0.10485 | 4.2148 | 0.11157 | 5.2013 | 0.10213 | 11.788 | 0.10493 | 6.3664 | 0.10442 | 6.0407 | 0.10657 | 7.5887
| FALSE | 007CALS.d | 2019-06-12 12:04 | CalStd | 4 | 0.5 |  | 0.53471 | 12.3641 | 0.53678 | 3.439 | 0.53006 | 9.5959 | 0.53805 | 4.0404 | 0.52668 | 12.0894 | 0.54078 | 3.9098
| FALSE | 008CALS.d | 2019-06-12 12:09 | CalStd | 5 | 1 |  | 1.0731 | 4.1141 | 1.0914 | 1.5133 | 1.0728 | 2.2157 | 1.074 | 2.3049 | 1.0799 | 2.3418 | 1.0743 | 0.94963
| FALSE | 009CALS.d | 2019-06-12 12:14 | CalStd | 6 | 2 |  | 2.1532 | 0.77425 | 2.1431 | 2.0499 | 2.1546 | 1.5679 | 2.152 | 1.8098 | 2.1518 | 1.3653 | 2.151 | 1.0187
| FALSE | 010SMPL.d | 2019-06-12 12:18 | Sample |  | rinse |  | 0.0049102 | 78.3027 | 0.0043531 | 35.8666 | <0.005 | 63.3657 | <0.005 | 73.3849 | <0.005 | 22.9294 | 0.0044318 | 38.8758
| FALSE | 011SMPL.d | 2019-06-12 12:23 | Sample |  | blank Table ICP |  | 0.0067665 | 40.0468 | 0.0044074 | 46.5646 | <0.005 | 139.5224 | <0.005 | 335.3975 | <0.005 | 22.6923 | 0.0048647 | 43.0977
| FALSE | 012SMPL.d | 2019-06-12 12:28 | Sample |  | 211 1:10 |  | 0.032369 | 15.5168 | 0.027437 | 8.241 | 0.031321 | 13.2673 | 0.024787 | 23.9062 | 0.03188 | 11.4413 | 0.026348 | 13.5019
| FALSE | 013SMPL.d | 2019-06-12 12:32 | Sample |  | 231 1:10 |  | 0.0070662 | 28.1056 | 0.0062418 | 35.4066 | 0.0063493 | 23.1629 | 0.0082337 | 68.1592 | 0.0066398 | 4.1318 | 0.0075882 | 28.2961
| FALSE | 014SMPL.d | 2019-06-12 12:37 | Sample |  | 241 1:10 |  | 0.011536 | 27.9455 | 0.011122 | 18.6943 | 0.0083799 | 54.3147 | 0.0066384 | 26.0489 | 0.010913 | 16.4282 | 0.0086581 | 7.7179
| FALSE | 015SMPL.d | 2019-06-12 12:42 | Sample |  | 216 1:10 |  | 0.48396 | 2.4492 | 0.47192 | 5.1342 | 0.50601 | 5.1226 | 0.46114 | 1.0534 | 0.4999 | 2.3883 | 0.4728 | 3.6111
| FALSE | 016SMPL.d | 2019-06-12 12:46 | Sample |  | 236 1:10 |  | 0.080042 | 4.5631 | 0.076255 | 17.3228 | 0.072264 | 16.7846 | 0.064666 | 9.836 | 0.071558 | 9.4625 | 0.072129 | 7.9989
| FALSE | 017SMPL.d | 2019-06-12 12:51 | Sample |  | 246 1:10 |  | 0.5852 | 1.818 | 0.56164 | 1.7772 | 0.58984 | 1.8175 | 0.56583 | 0.57455 | 0.5917 | 2.239 | 0.55206 | 1.7898
| FALSE | 018SMPL.d | 2019-06-12 12:56 | Sample |  | 211 1:4 |  | 0.078764 | 7.2888 | 0.071517 | 6.441 | 0.074284 | 5.7198 | 0.066396 | 7.8761 | 0.077172 | 5.6589 | 0.072534 | 9.0264
| FALSE | 019SMPL.d | 2019-06-12 13:00 | Sample |  | 212 1:4 |  | 0.12881 | 8.6068 | 0.12433 | 4.9675 | 0.12178 | 6.9904 | 0.11525 | 12.2731 | 0.12909 | 1.0708 | 0.11855 | 5.5612
| FALSE | 020SMPL.d | 2019-06-12 13:05 | Sample |  | 213 1:4 |  | 0.8329 | 2.2563 | 0.78978 | 1.5751 | 0.81863 | 3.9088 | 0.75014 | 1.6319 | 0.84534 | 1.9533 | 0.78501 | 2.4397
| FALSE | 021SMPL.d | 2019-06-12 13:10 | Sample |  | 214 1:4 |  | 1.0309 | 4.8355 | 0.96373 | 3.0583 | 1.0355 | 3.402 | 0.93777 | 3.7211 | 1.0324 | 2.6209 | 0.96158 | 3.3122
| FALSE | 022SMPL.d | 2019-06-12 13:15 | Sample |  | 215 1:4 |  | 1.427 | 3.2125 | 1.3316 | 1.4201 | 1.443 | 2.4081 | 1.339 | 1.4756 | 1.4498 | 2.4396 | 1.3514 | 2.953
| FALSE | 023SMPL.d | 2019-06-12 13:20 | Sample |  | 217 1:10 |  | 0.41926 | 3.1193 | 0.40915 | 3.7867 | 0.4158 | 4.8027 | 0.39997 | 3.8033 | 0.41687 | 2.7267 | 0.40754 | 1.2324
| FALSE | 024SMPL.d | 2019-06-12 13:25 | Sample |  | 218 1:4 |  | 1.0092 | 3.6417 | 0.93401 | 2.8654 | 1.0402 | 5.7864 | 0.93009 | 5.0669 | 1.0108 | 3.6916 | 0.92937 | 2.3573
| FALSE | 025SMPL.d | 2019-06-12 13:29 | Sample |  | rinse |  | 0.0043482 | 11.6148 | <0.004 | 47.1307 | <0.005 | 72.4368 | <0.005 | 89.2216 | <0.005 | 59.197 | <0.004 | 37.8192
| FALSE | 026CALB.d | 2019-06-12 13:34 | CalBlk | 1 | 0 |  | <0.005 | N/A | <0.006 | N/A | <0.006 | N/A | <0.006 | N/A | <0.006 | N/A | <0.005 | N/A
| FALSE | 027CALS.d | 2019-06-12 13:39 | CalStd | 2 | 0.05 |  | 0.058343 | 4.2735 | 0.051947 | 12.7694 | 0.050152 | 16.8929 | 0.052822 | 8.1492 | 0.053415 | 2.8237 | 0.057244 | 4.2044
| FALSE | 028CALS.d | 2019-06-12 13:43 | CalStd | 3 | 0.1 |  | 0.11122 | 6.9946 | 0.11514 | 8.3375 | 0.10041 | 12.2023 | 0.11098 | 9.5384 | 0.11236 | 4.2392 | 0.11197 | 5.9329
| FALSE | 029CALS.d | 2019-06-12 13:48 | CalStd | 4 | 0.5 |  | 0.53981 | 3.2705 | 0.55499 | 3.9346 | 0.55649 | 2.785 | 0.54311 | 2.7242 | 0.55039 | 2.2654 | 0.54347 | 1.1207
| FALSE | 030CALS.d | 2019-06-12 13:53 | CalStd | 5 | 1 |  | 1.079 | 1.773 | 1.086 | 2.1431 | 1.0628 | 2.0689 | 1.0817 | 2.1898 | 1.0862 | 2.4205 | 1.0832 | 1.4151
| FALSE | 031CALS.d | 2019-06-12 13:57 | CalStd | 6 | 2 |  | 2.1485 | 2.6711 | 2.1412 | 0.68641 | 2.1532 | 2.2486 | 2.1465 | 1.656 | 2.1423 | 1.1654 | 2.1455 | 1.2937
| FALSE | 032SMPL.d | 2019-06-12 14:02 | Sample |  | rinse |  | 0.0076721 | 38.0333 | <0.006 | 26.5076 | 0.0075183 | 13.3032 | <0.006 | 55.3459 | <0.006 | 44.9209 | 0.005564 | 25.3628
| FALSE | 033SMPL.d | 2019-06-12 14:07 | Sample |  | 219 1:4 |  | 0.65323 | 1.5176 | 0.65314 | 1.3872 | 0.65793 | 1.7082 | 0.64776 | 4.481 | 0.66475 | 2.0476 | 0.64237 | 2.0217
| FALSE | 034SMPL.d | 2019-06-12 14:11 | Sample |  | 2110 1:4 |  | 0.32725 | 5.2612 | 0.31512 | 6.4778 | 0.34249 | 5.7341 | 0.31198 | 6.1908 | 0.34202 | 2.1604 | 0.31276 | 3.0446
| FALSE | 035SMPL.d | 2019-06-12 14:16 | Sample |  | 2111 1:4 |  | 0.19828 | 6.459 | 0.19028 | 4.4369 | 0.19087 | 3.8714 | 0.18869 | 6.2726 | 0.20377 | 6.5618 | 0.20064 | 3.7497
| FALSE | 036SMPL.d | 2019-06-12 14:21 | Sample |  | 231 1:2 |  | 0.03622 | 11.154 | 0.03977 | 10.4791 | 0.039314 | 11.6879 | 0.041027 | 9.1463 | 0.039938 | 7.879 | 0.039447 | 10.5569
| FALSE | 037SMPL.d | 2019-06-12 14:25 | Sample |  | 232 1:2 |  | 0.050323 | 6.1712 | 0.056886 | 7.9412 | 0.05482 | 21.4786 | 0.056654 | 8.2116 | 0.054349 | 6.8414 | 0.054722 | 6.176
| FALSE | 038SMPL.d | 2019-06-12 14:30 | Sample |  | 233 1:2 |  | 0.176 | 4.2186 | 0.16746 | 6.0637 | 0.1767 | 2.1491 | 0.16798 | 3.7173 | 0.17631 | 4.5125 | 0.17494 | 2.6106
| FALSE | 039SMPL.d | 2019-06-12 14:35 | Sample |  | 234 1:2 |  | 0.33192 | 1.5598 | 0.32602 | 4.2051 | 0.34345 | 4.4978 | 0.31981 | 5.6391 | 0.3339 | 3.2494 | 0.32436 | 3.6001
| FALSE | 040SMPL.d | 2019-06-12 14:40 | Sample |  | 235 1:2 |  | 0.51102 | 10.145 | 0.52699 | 2.9278 | 0.53091 | 7.6689 | 0.52282 | 3.4351 | 0.52135 | 7.4591 | 0.52251 | 3.249
| FALSE | 041SMPL.d | 2019-06-12 14:44 | Sample |  | 236 1:2 |  | 0.3701 | 5.9438 | 0.37542 | 2.8336 | 0.37779 | 4.4822 | 0.36592 | 4.8223 | 0.37892 | 1.0283 | 0.36636 | 5.0188
| FALSE | 042SMPL.d | 2019-06-12 14:49 | Sample |  | 237 1:2 |  | 0.25262 | 4.5078 | 0.22099 | 4.8106 | 0.2504 | 4.66 | 0.22493 | 4.034 | 0.24874 | 4.7724 | 0.22332 | 4.6721
| FALSE | 043SMPL.d | 2019-06-12 14:54 | Sample |  | 238 1:2 |  | 0.16459 | 1.1894 | 0.15821 | 4.7364 | 0.16167 | 5.7911 | 0.15918 | 5.8552 | 0.15361 | 4.6428 | 0.15811 | 4.4264
| FALSE | 044SMPL.d | 2019-06-12 14:58 | Sample |  | 239 1:2 |  | 0.10719 | 3.4707 | 0.11178 | 7.1765 | 0.10817 | 2.0705 | 0.10538 | 10.2856 | 0.10957 | 2.9884 | 0.10824 | 7.6765
| FALSE | 045SMPL.d | 2019-06-12 15:03 | Sample |  | 2310 1:2 |  | 0.044256 | 6.2977 | 0.044591 | 4.7053 | 0.041903 | 4.2581 | 0.040639 | 11.8302 | 0.039695 | 8.9208 | 0.043091 | 8.8897
| FALSE | 046SMPL.d | 2019-06-12 15:08 | Sample |  | 2311 1:2 |  | 0.023407 | 12.3974 | 0.020812 | 14.2014 | 0.022577 | 6.716 | 0.022514 | 31.2169 | 0.021818 | 10.0995 | 0.021781 | 8.1309
| FALSE | 047SMPL.d | 2019-06-12 15:12 | Sample |  | rinse |  | <0.005 | 207.5778 | <0.006 | N/A | <0.006 | 1059.865 | <0.006 | N/A | <0.006 | 788.2687 | <0.005 | N/A
| FALSE | 048_QC1.d | 2019-06-12 15:17 | QC1 |  | 0.1 std |  | 0.10918 | 4.3734 | 0.10589 | 5.7362 | 0.10592 | 6.9012 | 0.10675 | 3.6851 | 0.11212 | 5.0543 | 0.10847 | 2.7752
| FALSE | 049_QC2.d | 2019-06-12 15:22 | QC2 |  | 1 std |  | 1.0333 | 2.3997 | 1.0596 | 1.591 | 1.0587 | 1.1268 | 1.0394 | 3.4568 | 1.0653 | 1.3658 | 1.0555 | 1.2913
| FALSE | 050SMPL.d | 2019-06-12 15:26 | Sample |  | rinse |  | <0.005 | 41.6487 | <0.006 | 47.2895 | <0.006 | 38.9435 | <0.006 | 107.0217 | <0.006 | 45.4435 | <0.005 | 103.1565
| FALSE | 051SMPL.d | 2019-06-12 15:31 | Sample |  | 241 1:2 |  | 0.05786 | 9.2711 | 0.1164 | 106.9172 | 0.050974 | 10.8533 | 0.04885 | 7.6376 | 0.057895 | 5.9124 | 0.053974 | 11.1946
| FALSE | 052SMPL.d | 2019-06-12 15:36 | Sample |  | 242 1:2 |  | 0.18975 | 3.0603 | 0.18293 | 3.459 | 0.15724 | 6.6227 | 0.17038 | 5.649 | 0.1809 | 6.7077 | 0.17117 | 4.1881
| FALSE | 053SMPL.d | 2019-06-12 15:40 | Sample |  | 243 1:4 |  | 0.75137 | 1.7341 | 0.77049 | 3.502 | 0.78866 | 2.3966 | 0.75119 | 2.5638 | 0.77559 | 1.9119 | 0.76718 | 2.7697
| FALSE | 054SMPL.d | 2019-06-12 15:45 | Sample |  | 244 1:4 |  | 0.90724 | 5.1043 | 0.86813 | 12.9378 | 0.95835 | 22.1261 | 0.81618 | 11.9691 | 0.87538 | 7.7459 | 0.84715 | 9.5887
| FALSE | 055SMPL.d | 2019-06-12 15:50 | Sample |  | 244 1:4 |  | 0.8298 | 8.4291 | 0.85054 | 7.7651 | 0.85272 | 5.2471 | 0.85181 | 3.4899 | 0.78633 | 7.7691 | 0.89495 | 10.7401
| FALSE | 056SMPL.d | 2019-06-12 15:55 | Sample |  | 245 1:4 |  | 1.3117 | 2.2795 | 1.3089 | 1.1396 | 1.3357 | 2.2703 | 1.307 | 1.282 | 1.3168 | 1.7854 | 1.3119 | 1.3936
| FALSE | 057SMPL.d | 2019-06-12 15:59 | Sample |  | 247 1:10 |  | 0.34272 | 2.3227 | 0.3452 | 3.5463 | 0.35799 | 6.0748 | 0.34523 | 6.089 | 0.3489 | 3.6197 | 0.34625 | 2.0653
| FALSE | 058SMPL.d | 2019-06-12 16:04 | Sample |  | 248 1:10 |  | 0.23381 | 5.2383 | 0.22887 | 7.0229 | 0.24265 | 2.7123 | 0.23288 | 6.6995 | 0.24125 | 3.2788 | 0.23032 | 10.1244
| FALSE | 059SMPL.d | 2019-06-12 16:09 | Sample |  | 249 1:10 |  | 0.17475 | 8.5002 | 0.17714 | 3.6698 | 0.17495 | 5.298 | 0.18061 | 7.6495 | 0.18221 | 2.9291 | 0.1799 | 6.2783
| FALSE | 060SMPL.d | 2019-06-12 16:13 | Sample |  | 2410 1:4 |  | 0.01959 | 14.4083 | 0.019603 | 9.222 | 0.019122 | 11.314 | 0.02405 | 7.582 | 0.019022 | 7.6825 | 0.021044 | 4.7528
| FALSE | 061SMPL.d | 2019-06-12 16:18 | Sample |  | 2411 1:4 |  | 0.021816 | 8.2766 | 0.023143 | 14.0495 | 0.023473 | 20.5953 | 0.023774 | 12.5556 | 0.017325 | 5.6082 | 0.022311 | 26.1954
| FALSE | 062SMPL.d | 2019-06-12 16:23 | Sample |  | rinse |  | <0.005 | 104.7011 | <0.006 | N/A | <0.006 | 120.2261 | <0.006 | N/A | <0.006 | 797.8892 | <0.005 | N/A
| FALSE | 063_QC1.d | 2019-06-12 16:27 | QC1 |  | 0.1 std |  | 0.10551 | 10.0909 | 0.10739 | 5.2099 | 0.10372 | 5.8494 | 0.10379 | 10.4981 | 0.10486 | 6.4155 | 0.10573 | 3.7264
| FALSE | 064_QC2.d | 2019-06-12 16:32 | QC2 |  | 1 std |  | 1.033 | 2.0021 | 1.0617 | 2.6112 | 1.0525 | 2.3747 | 1.0462 | 2.0651 | 1.0595 | 1.9279 | 1.0572 | 2.3387
| FALSE | 065SMPL.d | 2019-06-12 16:37 | Sample |  | rinse |  | <0.005 | 34.4765 | <0.006 | 68.4921 | <0.006 | 19.5644 | <0.006 | 135.4659 | <0.006 | 75.4253 | <0.005 | 36.1517
| FALSE | 066SMPL.d | 2019-06-12 16:41 | Sample |  | 111 1:4 |  | 0.32599 | 1.9098 | 0.32824 | 8.995 | 0.33216 | 3.6132 | 0.31295 | 5.3791 | 0.33393 | 2.6821 | 0.31194 | 11.2782
| FALSE | 067SMPL.d | 2019-06-12 16:46 | Sample |  | 112 1:5 |  | 0.26168 | 4.6372 | 0.26053 | 6.5231 | 0.24913 | 5.1198 | 0.25297 | 5.6113 | 0.26524 | 2.8423 | 0.26685 | 5.2222
| FALSE | 068SMPL.d | 2019-06-12 16:51 | Sample |  | 113 1:5 |  | 1.715 | 2.0208 | 1.7241 | 2.4079 | 1.7768 | 0.97014 | 1.723 | 1.7262 | 1.7897 | 3.3822 | 1.7195 | 2.4832
| FALSE | 069SMPL.d | 2019-06-12 16:55 | Sample |  | 114 1:5 |  | 3.3193 | 8.1581 | 3.1742 | 1.5541 | 3.2038 | 1.1997 | 3.453 | 17.512 | 3.2367 | 2.0608 | 3.2408 | 5.3851
| FALSE | 070SMPL.d | 2019-06-12 17:01 | Sample |  | 115 1:10 |  | 1.2609 | 0.82266 | 1.2913 | 1.731 | 1.2855 | 2.9607 | 1.2661 | 2.6488 | 1.2666 | 2.2055 | 1.2893 | 3.0377
| FALSE | 071SMPL.d | 2019-06-12 17:06 | Sample |  | 114 1:10 |  | 1.6907 | 29.6738 | 1.5281 | 4.0528 | 1.9219 | 46.0065 | 1.4856 | 1.9723 | 1.7229 | 29.37 | 1.5933 | 10.3417
| FALSE | 072SMPL.d | 2019-06-12 17:11 | Sample |  | 116 1:10 |  | 1.0273 | 2.9799 | 1.0865 | 1.2497 | 1.0537 | 3.1875 | 1.0743 | 4.3252 | 1.0688 | 1.6006 | 1.0649 | 4.4072
| FALSE | 073SMPL.d | 2019-06-12 17:15 | Sample |  | 117 1:10 |  | 1.0842 | 2.0071 | 1.0966 | 1.8553 | 1.0921 | 2.0909 | 1.0724 | 3.2606 | 1.0901 | 1.9962 | 1.1026 | 2.6294
| FALSE | 074SMPL.d | 2019-06-12 17:20 | Sample |  | 118 1:10 |  | 0.80052 | 4.6868 | 0.78747 | 3.5281 | 0.80137 | 4.5406 | 0.89087 | 22.6333 | 0.79985 | 1.3082 | 0.82118 | 8.9072
| FALSE | 075SMPL.d | 2019-06-12 17:25 | Sample |  | 119 1:10 |  | 0.67504 | 6.5498 | 0.68403 | 3.5996 | 0.68525 | 4.4573 | 0.6884 | 3.8135 | 0.6668 | 1.8313 | 0.66531 | 4.774
| FALSE | 076SMPL.d | 2019-06-12 17:29 | Sample |  | 1110 1:10 |  | 0.41694 | 5.0197 | 0.44998 | 9.3068 | 0.41015 | 6.1408 | 0.44179 | 7.104 | 0.48314 | 16.7482 | 0.44126 | 11.9144
| FALSE | 077SMPL.d | 2019-06-12 17:34 | Sample |  | 1111 1:10 |  | 0.22436 | 10.3336 | 0.22626 | 7.4904 | 0.23248 | 14.7129 | 0.25599 | 31.1655 | 0.23985 | 8.569 | 0.23422 | 8.3832
| FALSE | 078SMPL.d | 2019-06-12 17:39 | Sample |  | 141 1:2 |  | 0.64121 | 10.2667 | 0.648 | 1.2927 | 0.63302 | 5.6631 | 0.65035 | 3.6023 | 0.63759 | 6.1521 | 0.65384 | 6.3812
| FALSE | 079SMPL.d | 2019-06-12 17:44 | Sample |  | 142 1:4 |  | 0.2731 | 6.8673 | 0.26402 | 13.7524 | 0.2669 | 7.9414 | 0.24305 | 4.5654 | 0.3215 | 35.5101 | 0.25483 | 5.7439
| FALSE | 080SMPL.d | 2019-06-12 17:48 | Sample |  | 143 1:4 |  | 1.5435 | 2.0323 | 1.6146 | 2.0851 | 1.6212 | 1.8131 | 1.5957 | 4.0864 | 1.5921 | 2.782 | 1.6028 | 1.4844
| FALSE | 081SMPL.d | 2019-06-12 17:53 | Sample |  | 144 1:4 |  | 2.046 | 2.1135 | 2.1294 | 2.0484 | 2.0774 | 2.6635 | 2.115 | 2.2395 | 2.0726 | 2.4175 | 2.1078 | 0.7475
| FALSE | 082SMPL.d | 2019-06-12 17:57 | Sample |  | 145 1:4 |  | 1.0561 | 3.2593 | 1.1637 | 3.1393 | 1.082 | 1.1341 | 1.1382 | 2.3177 | 1.0989 | 3.8738 | 1.2912 | 25.6573
| FALSE | 083SMPL.d | 2019-06-12 18:02 | Sample |  | 146 1:10 |  | 0.77623 | 1.5463 | 0.82881 | 3.6392 | 0.79115 | 6.9832 | 0.80597 | 3.3443 | 0.7868 | 1.8568 | 0.82617 | 2.2481
| FALSE | 084SMPL.d | 2019-06-12 18:07 | Sample |  | 147 1:10 |  | 0.66802 | 8.3039 | 0.73485 | 1.9175 | 0.68318 | 12.1824 | 0.78561 | 21.3026 | 0.69307 | 6.9972 | 0.72448 | 3.9505
| FALSE | 085SMPL.d | 2019-06-12 18:12 | Sample |  | 148 1:10 |  | 0.43687 | 3.135 | 0.43429 | 6.1754 | 0.47327 | 4.1106 | 0.45793 | 7.5321 | 0.45949 | 4.1007 | 0.45792 | 4.6226
| FALSE | 086SMPL.d | 2019-06-12 18:16 | Sample |  | rinse |  | 0.0065912 | 53.6983 | 0.006389 | 50.1216 | 0.0057334 | 43.2642 | 0.0071949 | 44.6773 | <0.006 | 25.633 | 0.0056823 | 23.5194
| FALSE | 087_QC1.d | 2019-06-12 18:21 | QC1 |  | 0.1 std |  | 0.10788 | 5.3548 | 0.1187 | 7.0095 | 0.11673 | 2.7341 | 0.10882 | 9.3274 | 0.11155 | 3.6659 | 0.11568 | 5.7571
| FALSE | 088_QC2.d | 2019-06-12 18:26 | QC2 |  | 1 std |  | 1.0331 | 1.6932 | 1.1025 | 1.249 | 1.0837 | 3.086 | 1.0753 | 1.9489 | 1.0607 | 1.5041 | 1.0843 | 1.0171
| FALSE | 089SMPL.d | 2019-06-12 18:30 | Sample |  | rinse |  | <0.005 | 44.5783 | <0.006 | 32.5749 | <0.006 | 29.8779 | <0.006 | 31.3962 | <0.006 | 24.023 | 0.0061111 | 27.4885
| FALSE | 090SMPL.d | 2019-06-12 18:35 | Sample |  | 149 1:10 |  | 0.15346 | 5.5849 | 0.18515 | 15.1422 | 0.14679 | 6.4293 | 0.16124 | 3.9842 | 0.19288 | 37.7137 | 0.1768 | 16.0817
| FALSE | 091SMPL.d | 2019-06-12 18:40 | Sample |  | 1410 1:5 |  | 0.094728 | 10.0981 | 0.096368 | 5.9361 | 0.10169 | 20.8899 | 0.10995 | 14.802 | 0.10057 | 12.8495 | 0.11054 | 9.2019
| FALSE | 092SMPL.d | 2019-06-12 18:44 | Sample |  | 1411 1:5 |  | 0.083144 | 35.9548 | 0.066687 | 6.8023 | 0.068979 | 11.3398 | 0.083006 | 21.2956 | 0.073437 | 10.7648 | 0.064231 | 5.4395
| FALSE | 093SMPL.d | 2019-06-12 18:49 | Sample |  | 131 1:2 |  | 0.22442 | 13.5581 | 0.2127 | 7.1023 | 0.20625 | 4.5194 | 0.21384 | 4.9585 | 0.21482 | 10.3613 | 0.20625 | 5.2167
| FALSE | 094SMPL.d | 2019-06-12 18:54 | Sample |  | 132 1:2 |  | 0.16504 | 4.4503 | 0.17613 | 4.0454 | 0.16629 | 5.4704 | 0.16413 | 8.8278 | 0.18056 | 11.0213 | 0.18684 | 18.4293
| FALSE | 095SMPL.d | 2019-06-12 18:58 | Sample |  | 133 1:2 |  | 0.46784 | 2.1717 | 0.47598 | 3.9036 | 0.46403 | 3.8207 | 0.4767 | 2.2155 | 0.47677 | 3.5439 | 0.46842 | 3.1215
| FALSE | 096SMPL.d | 2019-06-12 19:03 | Sample |  | 134 1:2 |  | 1.1231 | 2.6658 | 1.1552 | 3.5202 | 1.1374 | 5.7306 | 1.1794 | 3.7837 | 1.12 | 2.5979 | 1.148 | 2.4261
| FALSE | 097SMPL.d | 2019-06-12 19:08 | Sample |  | 135 1:2 |  | 1.3313 | 3.8905 | 1.3532 | 1.6827 | 1.3596 | 3.13 | 1.3343 | 3.7519 | 1.3526 | 1.8774 | 1.3633 | 2.8264
| FALSE | 098SMPL.d | 2019-06-12 19:12 | Sample |  | 136 1:2 |  | 1.0389 | 3.151 | 1.1072 | 5.265 | 1.108 | 4.7318 | 1.0782 | 3.6893 | 1.1042 | 1.9664 | 1.0812 | 4.3578
| FALSE | 099SMPL.d | 2019-06-12 19:17 | Sample |  | 137 1:2 |  | 0.82151 | 3.4988 | 0.80594 | 2.9174 | 0.84373 | 6.16 | 0.80617 | 5.3208 | 0.8427 | 2.854 | 0.78901 | 4.6876
| FALSE | 100SMPL.d | 2019-06-12 19:22 | Sample |  | 138 1:2 |  | 0.54389 | 3.8936 | 0.57887 | 1.6869 | 0.57746 | 4.038 | 0.55212 | 3.6077 | 0.56293 | 2.8609 | 0.54759 | 3.2886
| FALSE | 101SMPL.d | 2019-06-12 19:27 | Sample |  | 139 1:2 |  | 0.40693 | 0.60117 | 0.41049 | 4.5256 | 0.43456 | 1.0336 | 0.41739 | 7.3044 | 0.4301 | 7.3904 | 0.41273 | 2.5311
| FALSE | 102SMPL.d | 2019-06-12 19:31 | Sample |  | 1310 1:2 |  | 0.43589 | 3.9805 | 0.41854 | 5.1117 | 0.42947 | 2.427 | 0.4185 | 4.512 | 0.42769 | 2.1532 | 0.42776 | 2.2284
| FALSE | 103SMPL.d | 2019-06-12 19:36 | Sample |  | 1311 1:2 |  | 0.3866 | 2.4974 | 0.39133 | 3.4906 | 0.37666 | 5.1329 | 0.38017 | 8.296 | 0.38374 | 5.7271 | 0.38067 | 3.0399
| FALSE | 104SMPL.d | 2019-06-12 19:41 | Sample |  | rinse |  | <0.005 | 94.5125 | <0.006 | 30.3656 | <0.006 | 53.7983 | <0.006 | 171.3414 | <0.006 | 104.6647 | <0.005 | 37.9303
| FALSE | 105_QC1.d | 2019-06-12 19:45 | QC1 |  | 0.1 std |  | 0.10771 | 12.2943 | 0.11684 | 6.0298 | 0.10663 | 4.4459 | 0.1021 | 9.0414 | 0.11021 | 4.4236 | 0.11371 | 3.2893
| FALSE | 106_QC2.d | 2019-06-12 19:50 | QC2 |  | 1 std |  | 1.0612 | 2.9025 | 1.0945 | 0.39905 | 1.0772 | 2.9129 | 1.0763 | 3.1552 | 1.0757 | 2.0957 | 1.0864 | 2.0176
| FALSE | 107SMPL.d | 2019-06-12 19:55 | Sample |  | rinse |  | <0.005 | 20.4757 | <0.006 | 43.1195 | <0.006 | 61.6748 | <0.006 | 72.182 | <0.006 | 64.7186 | 0.0057158 | 20.9219

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd